## Slide 1
OpenIGTLink
Other IGTL Servers
Plus
Slicer
CustusX
OpenIGTLinkIF
OpenIGTLinkIO
IBIS
Client Applications
Server Applications
Other IGT
TCP/IP
Systems and libraries communicating over OpenIGTLink

## Slide 2
Converter
Devices
Logic
GUI
Qt
VTK
CTK
OpenIGTLink
OpenIGTLinkIO
Modules and dependencies

## Slide 3
Igtl::LightObject
ImageConverter
PolyDataConverter
TransformConverter
OpenIGTLinkIO / Converter Module
Simple classes for converting between igtl and vtk formats.
Intended to be used within Device subclasses, or standalone.
..add more converters as needed

## Slide 4
Device
(Specific)Device
(Specific)DeviceCreator
OpenIGTLinkIO / Devices Module
A Device represents one IGTL message type in a connection.
Creator classes instantiate devices.
Devices:
Image
PolyData
Transform
…
DeviceCreator
Creates

## Slide 5
Connector
Device
DeviceCreator
OpenIGTLinkIO / Logic Module
The Logic module is a client backend.
Logic handles a number of TCP/IP connections, each sending/receiving IGTL messages represented by devices.
DeviceFactory
0..*
1
CircularBuffer
1
Socket
1
Logic
0..*
Thread
1

## Slide 6
Logic
LogicController
OpenIGTLinkIO / GUI Module
A collection of GUI components for quickly building a frontend to the IGTL connections.
Connection
ClientWidget
ConnectorListWidget
DevicesWidget
ConnectorListView
ConnectorPropertyWidget
DevicesListView
DeviceButtonsWidget
DevicesModel
ConnectorModel